# Hot Work Safety Procedure

# 1. Purpose

This procedure sets out the controls required before any welding or cutting is carried out.

# 2. Requirements

Obtain a hot work permit

Remove flammable material within 10 metres

Keep a fire extinguisher at the work area

# 3. Steps

Inspect the area

Issue the permit

Monitor for 30 minutes after work

| Permit register |  |  |
| --- | --- | --- |
| Permit | Area | Status |
| HW-101 | Workshop 3 | Closed |